## Summary
Metric | Value
Validation ID | 822a3bd8-a25b-48e9-abcd-05a9bb6af6d9
Source file | register-as-received.csv
Created at | 2026-08-01T22:00:23.390880Z
Quality score | 72.7
Total rows | 22
Valid rows | 16
Issues | 10
Returned issue details | 10
Issue details truncated | FALSE
Errors | 6
Warnings | 4
Information | 0

## Issues
severity | rule | row | asset_tag | field | message | suggestion
warning | NAMING_NORMALIZATION | 8 | PDU-B-01 | status | Use the canonical lowercase status value. | active
error | REQUIRED_FIELD | 9 | UPS-C-01 | status | 'status' is required.
error | REQUIRED_FIELD | 14 | PMP-C-03 | power_kw | 'power_kw' is required.
error | VALUE_OUT_OF_RANGE | 21 | LGT-C-202 | voltage_v | 'voltage_v' must be greater than 0 and no greater than 1,000,000.
error | INVALID_STATUS | 22 | HTR-C-01 | status | Status must be one of: active, standby, maintenance, decommissioned.
error | DUPLICATE_ASSET_TAG | 17 | FAN-C-02 | asset_tag | Asset tag 'FAN-C-02' occurs more than once.
error | DUPLICATE_ASSET_TAG | 18 | FAN-C-02 | asset_tag | Asset tag 'FAN-C-02' occurs more than once.
warning | UNKNOWN_PANEL_REFERENCE | 15 | CHL-C-01 | panel_tag | Panel 'PNL-C-ROOF' is not present in this register.
warning | MISSING_PANEL_REFERENCE | 23 | EF-C-01 | panel_tag | A non-panel asset should reference its supplying panel.
warning | MISSING_CIRCUIT_REFERENCE | 23 | EF-C-01 | circuit_ref | A non-panel asset should reference its supplying circuit.

## Data
asset_tag | asset_name | asset_type | location | panel_tag | circuit_ref | voltage_v | power_kw | status
PNL-C-01 | Block C Main Switchboard | panel | Block C Switchroom |  |  | 400 | 0 | active
PNL-C-L1 | Level 1 Distribution Panel | panel | Block C Level 1 |  |  | 400 | 0 | active
PNL-C-L2 | Level 2 Distribution Panel | panel | Block C Level 2 |  |  | 400 | 0 | active
PNL-C-MECH | Mechanical Services Panel | panel | Block C Plant Room |  |  | 400 | 0 | active
PNL-C-SVR | Server Room Panel | panel | Block C Server Room |  |  | 230 | 0 | active
PDU-A-01 | Server Room PDU A | pdu | Block C Server Room | PNL-C-SVR | C01 | 230 | 8 | active
PDU-B-01 | Server Room PDU B | pdu | Block C Server Room | PNL-C-SVR | C02 | 230 | 8 | Active
UPS-C-01 | Server Room UPS | ups | Block C Server Room | PNL-C-SVR | C03 | 230 | 10
AHU-C-01 | Level 1 Air Handling Unit | ahu | Block C Plant Room | PNL-C-MECH | C01 | 400 | 15 | active
AHU-C-02 | Level 2 Air Handling Unit | ahu | Block C Plant Room | PNL-C-MECH | C02 | 400 | 15 | active
PMP-C-01 | Chilled Water Pump 1 | pump | Block C Plant Room | PNL-C-MECH | C03 | 400 | 11 | active
PMP-C-02 | Chilled Water Pump 2 | pump | Block C Plant Room | PNL-C-MECH | C04 | 400 | 11 | standby
PMP-C-03 | Condenser Water Pump | pump | Block C Plant Room | PNL-C-MECH | C05 | 400 |  | active
CHL-C-01 | Chiller 1 | chiller | Block C Roof | PNL-C-ROOF | C01 | 400 | 90 | active
FAN-C-01 | Level 1 Toilet Exhaust Fan | fan | Block C Level 1 | PNL-C-L1 | C01 | 230 | 0.75 | active
FAN-C-02 | Level 2 Toilet Exhaust Fan | fan | Block C Level 2 | PNL-C-L2 | C01 | 230 | 0.75 | active
FAN-C-02 | Kitchen Extract Fan | fan | Block C Level 1 | PNL-C-L1 | C02 | 230 | 2.2 | active
LGT-C-101 | Level 1 Office Lighting | lighting | Block C Level 1 | PNL-C-L1 | C03 | 230 | 3.2 | active
LGT-C-201 | Level 2 Office Lighting | lighting | Block C Level 2 | PNL-C-L2 | C02 | 230 | 3.4 | active
LGT-C-202 | Level 2 Meeting Room Lighting | lighting | Block C Level 2 | PNL-C-L2 | C03 | -230 | 1.8 | active
HTR-C-01 | Kitchen Instant Water Heater | heater | Block C Level 1 | PNL-C-L1 | C04 | 400 | 6 | in service
EF-C-01 | Car Park Extract Fan | fan | Block C Car Park |  |  | 400 | 5.5 | active